

**TFortis SNMP MIB**

**Variables description**

File version **TFortis-407-mib: v2.3**

© Fort Telecom, Perm 2019

**Contents**

[Introduction 3](#_TOC_250003)

1. [Typical MIB-2 4](#_TOC_250002)
	1. [Group: System 4](#_TOC_250001)
	2. [Network interfaces 5](#_TOC_250000)
	3. Network settings 8
	4. Statistics……………………………………………………………………………………………………….
	5. LLDP……………………………………………………………………………………………………………
	6. Standard SNMP traps…………………………………………………………………………………………
2. Specific parameters 11
	1. Switches 11
		1. SNMP Traps 11
		2. Variables for monitoring and management 15
	2. Integration units 18
		1. SNMP Traps 18
		2. Variables for monitoring and management 22

# Introduction

SNMP protocol is based on information about objects stored in the MIB – the Management Information Base.

All MIBs can be divided into standard and proprietary. Standard MIBs are supported by all network equipment of any manufacturer, while proprietary MIBs are tied to a specific manufacturer.

In this manual the detailed description of variables supported by TFortis equipment is given:

# TFortis PSW outdoor switches

* **TFortis SWU core switches**
* **TFortis TELEPORT integration units**

Each variable description in given in a following form:

|  |
| --- |
| Numerical representation of OID |
| Variable name in MIB file |
| Access type (read only, read and write) |
| Variable description  |

# Typical MIB-2

# Group: System

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.1.1 |
| Name | sysDescr |
| Type | DisplayString |
| Description | Equipment type description |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.1.2 |
| Name | sysObjectID |
| Type | OBJECT IDENTIFIER |
| Description | Root ID of the manufacturer |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.1.3 |
| Name | sysUpTime |
| Type | TimeTicks |
| Description | Device Uptime |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.1.4 |
| Name | sysContact |
| Type | DisplayString |
| Description | Contact information of management staff |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.1.5 |
| Name | sysName |
| Type | DisplayString |
| Description | Device description |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.1.6 |
| Name | sysLocation |
| Type | DisplayString |
| Description | Device location |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.1.7 |
| Name | sysServices |
| Type | INTEGER |
| Description | Level of services (always 78) |

# Network interfaces

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.1 |
| Name | interfaces.ifNumber |
| Type | Integer32 |
| Description | Number of network interfaces |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.1 |
| Name | interfaces.ifTable.ifEntry.ifIndex |
| Type | InterfaceIndex |
| Description | Interface index |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.2 |
| Name | interfaces.ifTable.ifEntry.ifDescr |
| Type | DisplayString |
| Description | Interface name |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.3 |
| Name | interfaces.ifTable.ifEntry.ifType |
| Type | IANAifType |
| Description | Interface type |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.4 |
| Name | interfaces.ifTable.ifEntry.ifMtu |
| Type | Integer32 |
| Description | MTU size |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.5 |
| Name | interfaces.ifTable.ifEntry.ifSpeed |
| Type | Gauge32 |
| Description | Interface actual rate |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.6 |
| Name | interfaces.ifTable.ifEntry.ifPhysAddress |
| Type | PhysAddress |
| Description | Interface MAC address  |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.7 |
| Name | interfaces.ifTable.ifEntry.ifAdminStatus |
| Type | INTEGER { up ( 1 ) , down ( 2 ) } |
| Description | Configured interface state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.8 |
| Name | interfaces.ifTable.ifEntry.ifOperStatus |
| Type | INTEGER { up ( 1 ) , down ( 2 ) } |
| Description | Actual interface state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.9 |
| Name | interfaces.ifTable.ifEntry.ifLastChange |
| Type | TimeTicks |
| Description | plug |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.10 |
| Name | interfaces.ifTable.ifEntry.ifInOctets |
| Type | Counter32 |
| Description | Number of incoming bytes on interface |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.16 |
| Name | interfaces.ifTable.ifEntry.ifOutOctets |
| Type | Counter32 |
| Description | Number of outgoing bytes on interface |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.31.1.1.1.1 |
| Name | IfXEntry.ifName |
| Type | DISPLAYSTRING |
| Description | Interface name |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.31.1.1.1.2 |
| Name | IfXEntry.ifInMulticastPkts |
| Type | COUNTER32 |
| Description | Number of incoming multicast packages |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.31.1.1.1.3 |
| Name | IfXEntry.ifInBroadcastPkts |
| Type | COUNTER32 |
| Description | Number of incoming broadcast packets |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.31.1.1.1.4 |
| Name | IfXEntry.ifOutMulticastPkts |
| Type | COUNTER32 |
| Description | Number of outgoing multicast packages |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.31.1.1.1.5 |
| Name | IfXEntry.ifOutBroadcastPkts |
| Type | COUNTER32 |
| Description | Number of outgoing broadcast packets |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.31.1.1.1.14 |
| Name | IfXEntry.ifLinkUpDownTrapEnable |
| Type | INTEGER {enabled(1), disabled(2) } |
| Description | Generating of SNMP Traps when the link is changing |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.31.1.1.1.16 |
| Name | IfXEntry.ifPromiscuousMode |
| Type | INTEGER {true(1), false(2) } |
| Description | Promiscuous Mode state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.31.1.1.1.17 |
| Name | IfXEntry.ifConnectorPresent |
| Type | INTEGER {true(1), false(2) } |
| Description | State of interface physics |

* 1. **Network settings**

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.4.1 |
| Name | ip.ipForwarding |
| Type | INTEGER { forwarding ( 1 ) , not-forwarding ( 2 ) } |
| Description | Always not-forwarding (switch) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.4.2 |
| Name | ip.ipDefaultTTL |
| Type | INTEGER |
| Description | TTL by default |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.4.21.1.1 |
| Name | ipRouteDest |
| Type | IpAddress |
| Description | IP address |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.17.7.1.1.1 |
| Name | dot1qVlanVersionNumber |
| Type | INTEGER {version1(1)} |
| Description | Number of IEEE 802.1Q version |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.17.7.1.1.2 |
| Name | dot1qMaxVlanId |
| Type | VlanId (INTEGER) (1..4094) |
| Description | Maximum VID |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.17.7.1.1.3 |
| Name | dot1qMaxSupportedVlans |
| Type | INTEGER |
| Description | Maximum number of supporting VLANs |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.17.7.1.1.4 |
| Name | dot1qNumVlans |
| Type | UNSIGNED32 |
| Description | Current number of VLANs |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.17.7.1.1.5 |
| Name | dot1qGvrpStatus |
| Type | EnabledStatus |
| Description | GVRP support |

* 1. **Statistics**

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.11.1 |
| Name | snmp.snmpInPkts |
| Type | Counter32 |
| Description | Number of incoming SNMP packets |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.11.3 |
| Name | snmp.snmpInBadVersions |
| Type | Counter32 |
| Description | Number of incoming SNMP packets with wrong version |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.11.6 |
| Name | snmp.snmpInASNParseErrs |
| Type | Counter32 |
| Description | Number of SNMP parsing errors |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.11.31 |
| Name | snmp.snmpSilentDrops |
| Type | Counter32 |
| Description | Number of discarded requests |

* 1. **LLDP**

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.1.1.0 |
| Name | lldpMessageTxInterval |
| Type | INTEGER32 |
| Description | LLDP message sending interval |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.1.2.0 |
| Name | lldpMessageTxHoldMultiplier |
| Type | INTEGER32 |
| Description | Storage multiplier. Use to calculateTTL (TTL=lldpMessageTxInterval\* lldpMessageTxHoldMultiplier |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.1.6 |
| Name | lldpPortConfigTable |
| Type | Таблица |
| Description | A table containing LLDP configuration information on each port |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.1.6.1.1 |
| Name | lldpPortConfigPortNum |
| Type | Index |
| Description | Port number, used as an index when reading the lldpPortConfigTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.1.6.1.2 |
| Name | lldpPortConfigAdminStatus |
| Type | INTEGER32 { txOnly (1) , rxOnly(2) , txAndRx (3) , disabled (4) } |
| Description | Port mode in LLDP protocol |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.1.6.1.3 |
| Name | lldpPortConfigNotificationEnable |
| Type | INTEGER32 { true (1) , false(2) , } |
| Description | Allow LLDP notifications to be sent from the port. |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.1.6.1.4 |
| Name | lldpPortConfigTLVsTxEnable |
| Type | BITS { portDesc (0) , sysName (1) , sysDesc (2) , sysCap (3) } |
| Description | TLV types that are allowed to be sent from the port |

|  |  |
| --- | --- |
| OID | 1.0.8802.1.1.2.1.3.1.0 |
| Name | lldpLocChassisIdSubtype |
| Type | INTEGER { chassisComponent (1) , interfaceAlias(2) , portComponent (3) , macAddress (4) , networkAddress (5) , interfaceName (6) , local (7) } |
| Description | Local device chassis id subtype |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.3.2.0 |
| Name | lldpLocChassisId |
| Type | STRING ( SIZE ( 1 .. 255 ) ) |
| Description | Local device chassis id  |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.3.3.0 |
| Name | lldpLocSysName |
| Type | STRING ( SIZE ( 0 .. 255 ) ) |
| Description | Local device description  |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.3.4.0 |
| Name | lldpLocSysDescr |
| Type | STRING ( SIZE ( 0 .. 255 ) ) |
| Description | Local device type name  |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.3.5.0 |
| Name | lldpLocSysCapSupported |
| Type | BITS { other (0) , repeater (1) , bridge (2) , wlanAccessPoint (3) , router (4) , telephone (5) , docsisCableDevice (6) , stationOnly (7) } |
| Description | System capabilities of the local device |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.3.6.0 |
| Name | lldpLocSysCapEnabled |
| Type | BITS { other (0) , repeater (1) , bridge (2) , wlanAccessPoint (3) , router (4) , telephone (5) , docsisCableDevice (6) , stationOnly (7) } |
| Description | Supported system capabilities of the local device |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.3.7 |
| Name | lldpLocPortTable |
| Type | Table |
| Description | The table contains information about the ports of the local device. |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.3.7.1.1 |
| Name | lldpLocPortNum |
| Type | INTEGER32 |
| Description | Port number, used as an index when reading the lldpLocPortTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.3.7.1.2 |
| Name | lldpLocPortIdSubtype |
| Type | INTEGER {interfaceAlias (1) , portComponent (2) , macAddress(3), networkAddress(4), interfaceName(5) , agentCircuitId (6) , local (7) } |
| Description | Port id Subtype in the lldpLocPortTable Table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.3.7.1.3 |
| Name | lldpLocPortId |
| Type | STRING |
| Description | Port id in the lldpLocPortTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.3.7.1.4 |
| Name | lldpLocPortDesc |
| Type | STRING |
| Description | Port Description in the lldpLocPortTable Table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.4.1 |
| Name | lldpRemTable |
| Type | Table |
| Description | The table contains information about known remote devices. |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.4.1.1.4 |
| Name | lldpRemChassisIdSubtype |
| Type | INTEGER { chassisComponent (1) , interfaceAlias(2) , portComponent (3) , macAddress (4) , networkAddress (5) , interfaceName (6) , local (7) } |
| Description | The subtype identifier of the remote device chassis in the lldpRemTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.4.1.1.5 |
| Name | lldpRemChassisId |
| Type | STRING ( SIZE ( 1 .. 255 ) ) |
| Description | Remote device chassis id in the lldpRemTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.4.1.1.6 |
| Name | lldpRemPortIdSubtype |
| Type | INTEGER {interfaceAlias (1) , portComponent (2) , macAddress(3), networkAddress(4), interfaceName(5), agentCircuitId (6), local (7) } |
| Description | The type of port id of the remote device in the lldpRemTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.4.1.1.7 |
| Name | lldpRemPortId |
| Type | STRING |
| Description | Identifier of the remote device port in the lldpRemTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.4.1.1.8 |
| Name | lldpRemPortDesc |
| Type | STRING |
| Description | Description of the remote device port in the lldpRemTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.4.1.1.9 |
| Name | lldpRemSysName |
| Type | STRING |
| Description | Description of the remote device in the lldpRemTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.4.1.1.10 |
| Name | lldpRemSysDesc |
| Type | STRING |
| Description | The name of the remote device in the lldpRemTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.4.1.1.10 |
| Name | lldpRemSysCapSupported |
| Type | BITS { other (0) , repeater (1) , bridge (2) , wlanAccessPoint (3) , router (4) , telephone (5) , docsisCableDevice (6) , stationOnly (7) } |
| Description | System capabilities of the remote device in the lldpRemTable table |

|  |  |
| --- | --- |
| OID | .1.0.8802.1.1.2.1.4.1.1.11 |
| Name | lldpRemSysCapEnabled |
| Type | BITS { other (0) , repeater (1) , bridge (2) , wlanAccessPoint (3) , router (4) , telephone (5) , docsisCableDevice (6) , stationOnly (7) } |
| Description | Supported system capabilities of the remote device in the lldpRemTable table |

* 1. **Standard SNMP traps**

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.2.2.1.8.<port> |
| Name | ifOperStatus |
| Type | INTEGER { up ( 1 ) , down ( 2 ) } |
| Description | Link status change event on interface |

|  |  |
| --- | --- |
| OID | .1.3.6.1.2.1.105.0.<port> |
| Name | pethPsePortOnOffNotification |
| Type | INTEGER { up ( 1 ) , down ( 2 ) } |
| Description | PoE status change event on interface |

1. **Specific parameters**
	1. **Switches**
		1. **SNMP Traps**

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.1 |
| Name | stpTopologyChanged |
| Type | trap |
| Description | Topology has been changed in STP/RSTP protocol. |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.2 |
| Name | specialFunctionNoLink |
| Type | trap |
| Description | The system for monitoring the camera hanging diagnosed lack of activity of the "link" signal on the port. |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.3 |
| Name | specialFunctionNoPingResponse |
| Type | trap |
| Description | The system for monitoring the camera hanging diagnosed no "Ping" response on the port. |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.4 |
| Name | specialFunctionLowSpeed |
| Type | trap |
| Description | The system for monitoring the camera hanging diagnosed a decrease in the intensity of the flow from the camera to the port. |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.5 |
| Name | updateFirmware |
| Type | trap |
| Description | Firmware update is in progress |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.6 |
| Name | setToDefault |
| Type | trap |
| Description | Settings have been reset to the factory default |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.7 |
| Name | backupSettings |
| Type | trap |
| Description | Settings have been saved to the file |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.8 |
| Name | systemWarmStart |
| Type | trap |
| Description | "Hot start" of the switch after CPU reboot |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.9 |
| Name | systemColdStart |
| Type | trap |
| Description | "Cold start" of the switch after supplying the power |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.10 |
| Name | webInterfaceLoginOk |
| Type | trap |
| Description | Authentication in the web-interface is successful |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.11 |
| Name | webInterfaceLoginFail |
| Type | trap |
| Description | Authentication in the web-interface failed, incorrect login/password |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.12 |
| Name | emptyArpTable |
| Type | trap |
| Description | Manual cleaning of the ARP table |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.13 |
| Name | upsLowVoltage |
| Type | trap |
| Description | Low battery. For switches with UPS. |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.14 |
| Name | upsBattrtyPower |
| Type | trap |
| Description | Switching to operation from the battery. For switches with UPS. |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.15 |
| Name | upsVacPower |
| Type | trap |
| Description | Switching to operation from the power supply. For switches with UPS. |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.16 |
| Name | tamperIsActive |
| Type | trap |
| Description | Tamper sensor actuation. For models PSW-2G+ and PSW-2G6F+ |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.17 |
| Name | sensor1isActive |
| Type | trap |
| Description | Actuation of dry contact input 1 |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.18 |
| Name | sensor2isActive |
| Type | trap |
| Description | Actuation of dry contact input 2 |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.23 |
| Name | macFilteringAlarm |
| Type | trap |
| Description | Attempted access from an unknown MAC address. When the MAC address filtering function is configured. |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.0.24 |
| Name | portErrorDisabled |
| Type | trap |
| Description | The port went into the Error-Disabled state |

* + 1. **Variables for monitoring and management**

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.1.1.1 |
| Name | comfortStartTime |
| Type | read-write, INTEGER ( 1 .. 2 ) |
| Description | Time of comfort start of video cameras in cold conditions (1 or 2 hours) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.1.1.2.1.2.<port> |
| Name | comfStState |
| Type | read-write, INTEGER { enabled ( 1 ) , disabled ( 2 ) } |
| Description | Setting the comfort start function for cameras on the port<port > - port number (1..N) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.1.2.1.1.2.<port> |
| Name | autoRstMode |
| Type | read-write, INTEGER { link (1) , ping (2) , speed (3) , disabled (4) } |
| Description | Setting the camera hanging control function on the port. Setting the hanging criterion<port > - port number (1..N) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.1.2.1.1.3.<port> |
| Name | autoRstDstIP |
| Type | read-write, IpAddress |
| Description | IP address of the camera when working by the Ping criterion<port > - port number (1..N) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.1.2.1.1.4.<port> |
| Name | autoRstSpeed |
| Type | read-write, INTEGER |
| Description | Lower speed threshold when working by the Speed criterion<port > - port number (1..N) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.1.3.1.1.2.<port> |
| Name | portPoeState |
| Type | read-write, INTEGER { enabled ( 1 ) , disabled ( 2 ) } |
| Description | Control of PoE power supply on the port<port > - port number (1..N) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.1.1.0 |
| Name | upsModeAvalible |
| Type | read-only, INTEGER { true ( 1 ) , false ( 2 ) } |
| Description | UPS module is connected to the device |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.1.2.0 |
| Name | upsPwrSource |
| Type | read-only, INTEGER { battery ( 1 ) , ac ( 2 ) } |
| Description | Power supply for UPS: built-in accumulator battery or power grid |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.1.3.0 |
| Name | upsBatteryVoltage |
| Type | read-only, INTEGER |
| Description | Accumulator battery voltage in UPS module  |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.1.4.0 |
| Name | upsBatteryTime |
| Type | read-only, INTEGER |
| Description | Estimated time of switch operation when switching to battery power, in seconds. |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.2.1.1.2.<input> |
| Name | inputType |
| Type | read-only, INTEGER { build-in ( 1 ) , plc ( 2 ) } |
| Description | Input type: built-in on the board or on the expansion board<input> - input number |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.2.1.1.3.<input> |
| Name | inputState |
| Type | read-only, INTEGER { open ( 1 ) , short ( 2 ) } |
| Description | Current input state<input> - input number (1 – enclosure tamper sensor, 2 – Sensor1, 3 – Sensor2) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.2.1.1.4.<input> |
| Name | inputAlarm |
| Type | read-only, INTEGER { open ( 1 ) , short ( 2 ) } |
| Description | Input state which is considered in alarm<input> - input number (1 – enclosure tamper sensor, 2 – Sensor1, 3 – Sensor2) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.3.1.0 |
| Name | fwVersion |
| Type | read-only, OCTET STRING |
| Description | Firmware version |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.5.1.1.2.<port> |
| Name | portPoeStatusState |
| Type | read-only, INTEGER { up ( 1 ) , down ( 2 ) } |
| Description | PoE status on the port<port > - port number (1..N) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.5.1.1.3.<port> |
| Name | portPoeStatusPower |
| Type | read-only, INTEGER |
| Description | PoE power consumption on the port (mW)<port > - port number (1..N) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.6.1.1.1.2.<port> |
| Name | arPortStatus |
| Type | read-only, INTEGER { normal ( 1 ) , noLink ( 2 ) , noPing ( 3 ) , lowSpeed ( 4 ) } |
| Description | Current status of the port when the function of camera hanging control is active<port > - port number (1..N) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.3.2.2.6.2.1.1.2.<port> |
| Name | csPortStatus |
| Type | read-only, INTEGER { normal ( 1 ) , processing ( 2 ) } |
| Description | Current status of the port when the function of camera comfort start is active: normal operation or waiting for camera housing heating<port > - port number (1..N) |

* 1. **Integration units**
		1. **SNMP traps**

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.1 |
| Name | updateFirmwareTLP |
| Type | trap |
| Description | Firmware upgrade |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.2 |
| Name | setToDefaultTLP |
| Type | trap |
| Description | Settings have been reset to the factory default |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.3 |
| Name | backupSettingsTLP |
| Type | trap |
| Description | Settings have been saved to the file |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.4 |
| Name | systemWarmStartTLP |
| Type | trap |
| Description | “Hot start” after CPU reboot |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.5 |
| Name | systemColdStart |
| Type | trap |
| Description | “Cold start” after supplying the power |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.6 |
| Name | webInterfaceLoginOkTLP |
| Type | trap |
| Description | Authentication in the web-interface successful |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.7 |
| Name | webInterfaceLoginFailTLP |
| Type | trap |
| Description | Web-interface authentication is failed, login/password is incorrect |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.8 |
| Name | emptyArpTableTLP |
| Type | trap |
| Description | Manual cleaning of the ARP table |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.9 |
| Name | input1isChanged |
| Type | trap |
| Description | Input 1 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.10 |
| Name | input2isChanged |
| Type | trap |
| Description | Input 2 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.11 |
| Name | input3isChanged |
| Type | trap |
| Description | Input 3 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.12 |
| Name | input4isChanged |
| Type | trap |
| Description | Input 4 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.13 |
| Name | input5isChanged |
| Type | trap |
| Description | Input 5 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.18 |
| Name | output1isChanged |
| Type | trap |
| Description | Output 1 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.19 |
| Name | output2isChanged |
| Type | trap |
| Description | Output 2 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.20 |
| Name | output3isChanged |
| Type | trap |
| Description | Output 3 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.21 |
| Name | output4isChanged |
| Type | trap |
| Description | Output 4 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.22 |
| Name | output5isChanged |
| Type | trap |
| Description | Output 5 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.23 |
| Name | output6isChanged |
| Type | trap |
| Description | Output 6 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.24 |
| Name | output7isChanged |
| Type | trap |
| Description | Output 7 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.25 |
| Name | output8isChanged |
| Type | trap |
| Description | Output 8 changed its state |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.0.26 |
| Name | output9isChanged |
| Type | trap |
| Description | Output 9 changed its state |

* + 1. **Variables for monitoring and management**

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.2.1.1.2.<input> |
| Name | inputStateTLP |
| Type | read-only, INTEGER { open ( 1 ) , short ( 2 ) } |
| Description | Current input state<input>=0 – enclosure tamper sensor in Teleport-2 <input > - input number (1..N) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.3.1.1.2.<output> |
| Name | outState |
| Type | read-write, INTEGER { open ( 1 ) , short ( 2 ) } |
| Description | Control of output.**Note:** control of output is possible, if the output settings areOutput Mode=Manual<output > - output number (1..N) |

|  |  |
| --- | --- |
| OID | .1.3.6.1.4.1.42019.4.2.4.1.0 |
| Name | fwVersionTLP |
| Type | read-only, OCTET STRING |
| Description | Firmware version |